## Epsilon_Gate_LC
dc_name | process_name | t_dc_mean_c | t_dc_max_c | t_req_c | delta_t_vs_mean_c | delta_t_vs_max_c | upgrade_tech_mean | upgrade_tech_max | k | r | epsilon | pass_gate | note
Edge_LC | LowT_60C | 47.6 | 50 | 60 | 12.4 | 10 | HP | HP | 0.92 | 0.06 | 0.8648 | TRUE | HP; ΔT(mean)=12.4°C
Edge_LC | MidT_90C | 47.6 | 50 | 90 | 42.4 | 40 | HP | HP | 0.92 | 0.06 | 0.8648 | TRUE | HP; ΔT(mean)=42.4°C
Edge_LC | HighT_130C | 47.6 | 50 | 130 | 82.4 | 80 | CO2_HTHP | CO2_HTHP | 0.85 | 0.08 | 0.782 | TRUE | CO2_HTHP; ΔT(mean)=82.4°C
Mid_LC | LowT_60C | 47.6 | 50 | 60 | 12.4 | 10 | HP | HP | 0.92 | 0.06 | 0.8648 | TRUE | HP; ΔT(mean)=12.4°C
Mid_LC | MidT_90C | 47.6 | 50 | 90 | 42.4 | 40 | HP | HP | 0.92 | 0.06 | 0.8648 | TRUE | HP; ΔT(mean)=42.4°C
Mid_LC | HighT_130C | 47.6 | 50 | 130 | 82.4 | 80 | CO2_HTHP | CO2_HTHP | 0.85 | 0.08 | 0.782 | TRUE | CO2_HTHP; ΔT(mean)=82.4°C
Hyperscale_LC | LowT_60C | 46 | 48 | 60 | 14 | 12 | HP | HP | 0.92 | 0.06 | 0.8648 | TRUE | HP; ΔT(mean)=14.0°C
Hyperscale_LC | MidT_90C | 46 | 48 | 90 | 44 | 42 | HP | HP | 0.92 | 0.06 | 0.8648 | TRUE | HP; ΔT(mean)=44.0°C
Hyperscale_LC | HighT_130C | 46 | 48 | 130 | 84 | 82 | CO2_HTHP | CO2_HTHP | 0.85 | 0.08 | 0.782 | TRUE | CO2_HTHP; ΔT(mean)=84.0°C

## Dataset_CE-HEAT_LC
pair_id | dc_name | dc_t_supply_mean_c | dc_t_supply_max_c | dc_q_nominal_kw | plant_id | process_name | sector | description | t_req_c | q_demand_kw | distance_km | shift_type | t_avail_fraction | delta_tc_baseline | upgrade_tech_mean | upgrade_tech_max | ri_static | label_feasible | ri_threshold | source_ref
P_LC001 | Edge_LC | 47.6 | 50 | 475 | LowT_01_FoodDry | LowT_60C | food_processing | Fruit/vegetable drying, pasteurisation (Emilia-Romagna) | 60 | 450 | 1.2 | continuous | 0.92 | 0.25 | HP | HP | 0.7506 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC002 | Edge_LC | 47.6 | 50 | 475 | LowT_02_Greenhouse | LowT_60C | agriculture | Heated greenhouse, year-round (Nordic analogue) | 55 | 300 | 2 | continuous | 0.95 | 0.2 | HP | direct_HX | 0.7516 | TRUE | 0.5 | CE-HEAT WP3 / Kalundborg
P_LC003 | Edge_LC | 47.6 | 50 | 475 | LowT_03_Aquaculture | LowT_60C | aquaculture | Fish farm thermal regulation (ENEA coastal cluster) | 65 | 180 | 3.5 | continuous | 0.88 | 0.3 | HP | HP | 0.6541 | TRUE | 0.5 | CE-HEAT WP4
P_LC004 | Edge_LC | 47.6 | 50 | 475 | MidT_04_TextileDye | MidT_90C | textile | Textile dyeing/finishing (Prato district, Tuscany) | 90 | 800 | 2.5 | 2shift | 0.78 | 0.42 | HP | HP | 0.47 | FALSE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC005 | Edge_LC | 47.6 | 50 | 475 | MidT_05_WoodDry | MidT_90C | wood_processing | Timber kiln drying (Alpine cluster) | 85 | 600 | 1.8 | 1shift | 0.8 | 0.38 | HP | HP | 0.563 | TRUE | 0.5 | CE-HEAT WP4 / ENEA B9
P_LC006 | Edge_LC | 47.6 | 50 | 475 | MidT_06_PaperPulp | MidT_90C | paper_pulp | Paper/pulp pre-drying (Po Valley industrial zone) | 95 | 1200 | 4 | continuous | 0.85 | 0.45 | HP | HP | 0.3756 | FALSE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC007 | Edge_LC | 47.6 | 50 | 475 | HighT_07_Rubber | HighT_130C | rubber_plastics | Rubber vulcanisation, moulding (Porto Marghera type) | 130 | 1000 | 3 | 2shift | 0.75 | 0.55 | CO2_HTHP | CO2_HTHP | 0.2778 | FALSE | 0.5 | ENEA B9 / CE-HEAT WP3
P_LC008 | Edge_LC | 47.6 | 50 | 475 | HighT_08_ChemReact | HighT_130C | chemicals | Chemical process reactor pre-heating, solvent recovery | 125 | 2500 | 4.5 | continuous | 0.82 | 0.6 | CO2_HTHP | CO2_HTHP | 0.1966 | FALSE | 0.5 | CE-HEAT WP4 / ENEA B9
P_LC009 | Edge_LC | 47.6 | 50 | 475 | HighT_09_IndSteam | HighT_130C | industrial_steam | Low-pressure industrial steam, autoclave sterilisation | 135 | 800 | 2.8 | 1shift | 0.7 | 0.57 | CO2_HTHP | CO2_HTHP | 0.2835 | FALSE | 0.5 | A9 / CE-HEAT
P_LC010 | Mid_LC | 47.6 | 50 | 3104 | LowT_01_FoodDry | LowT_60C | food_processing | Fruit/vegetable drying, pasteurisation (Emilia-Romagna) | 60 | 450 | 1.2 | continuous | 0.92 | 0.25 | HP | HP | 0.7506 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC011 | Mid_LC | 47.6 | 50 | 3104 | LowT_02_Greenhouse | LowT_60C | agriculture | Heated greenhouse, year-round (Nordic analogue) | 55 | 300 | 2 | continuous | 0.95 | 0.2 | HP | direct_HX | 0.7516 | TRUE | 0.5 | CE-HEAT WP3 / Kalundborg
P_LC012 | Mid_LC | 47.6 | 50 | 3104 | LowT_03_Aquaculture | LowT_60C | aquaculture | Fish farm thermal regulation (ENEA coastal cluster) | 65 | 180 | 3.5 | continuous | 0.88 | 0.3 | HP | HP | 0.6541 | TRUE | 0.5 | CE-HEAT WP4
P_LC013 | Mid_LC | 47.6 | 50 | 3104 | MidT_04_TextileDye | MidT_90C | textile | Textile dyeing/finishing (Prato district, Tuscany) | 90 | 800 | 2.5 | 2shift | 0.78 | 0.42 | HP | HP | 0.5716 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC014 | Mid_LC | 47.6 | 50 | 3104 | MidT_05_WoodDry | MidT_90C | wood_processing | Timber kiln drying (Alpine cluster) | 85 | 600 | 1.8 | 1shift | 0.8 | 0.38 | HP | HP | 0.6151 | TRUE | 0.5 | CE-HEAT WP4 / ENEA B9
P_LC015 | Mid_LC | 47.6 | 50 | 3104 | MidT_06_PaperPulp | MidT_90C | paper_pulp | Paper/pulp pre-drying (Po Valley industrial zone) | 95 | 1200 | 4 | continuous | 0.85 | 0.45 | HP | HP | 0.5266 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC016 | Mid_LC | 47.6 | 50 | 3104 | HighT_07_Rubber | HighT_130C | rubber_plastics | Rubber vulcanisation, moulding (Porto Marghera type) | 130 | 1000 | 3 | 2shift | 0.75 | 0.55 | CO2_HTHP | CO2_HTHP | 0.4091 | FALSE | 0.5 | ENEA B9 / CE-HEAT WP3
P_LC017 | Mid_LC | 47.6 | 50 | 3104 | HighT_08_ChemReact | HighT_130C | chemicals | Chemical process reactor pre-heating, solvent recovery | 125 | 2500 | 4.5 | continuous | 0.82 | 0.6 | CO2_HTHP | CO2_HTHP | 0.3991 | FALSE | 0.5 | CE-HEAT WP4 / ENEA B9
P_LC018 | Mid_LC | 47.6 | 50 | 3104 | HighT_09_IndSteam | HighT_130C | industrial_steam | Low-pressure industrial steam, autoclave sterilisation | 135 | 800 | 2.8 | 1shift | 0.7 | 0.57 | CO2_HTHP | CO2_HTHP | 0.3851 | FALSE | 0.5 | A9 / CE-HEAT
P_LC019 | Hyperscale_LC | 46 | 48 | 24500 | LowT_01_FoodDry | LowT_60C | food_processing | Fruit/vegetable drying, pasteurisation (Emilia-Romagna) | 60 | 450 | 1.2 | continuous | 0.92 | 0.25 | HP | HP | 0.745 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC020 | Hyperscale_LC | 46 | 48 | 24500 | LowT_02_Greenhouse | LowT_60C | agriculture | Heated greenhouse, year-round (Nordic analogue) | 55 | 300 | 2 | continuous | 0.95 | 0.2 | HP | HP | 0.746 | TRUE | 0.5 | CE-HEAT WP3 / Kalundborg
P_LC021 | Hyperscale_LC | 46 | 48 | 24500 | LowT_03_Aquaculture | LowT_60C | aquaculture | Fish farm thermal regulation (ENEA coastal cluster) | 65 | 180 | 3.5 | continuous | 0.88 | 0.3 | HP | HP | 0.6485 | TRUE | 0.5 | CE-HEAT WP4
P_LC022 | Hyperscale_LC | 46 | 48 | 24500 | MidT_04_TextileDye | MidT_90C | textile | Textile dyeing/finishing (Prato district, Tuscany) | 90 | 800 | 2.5 | 2shift | 0.78 | 0.42 | HP | HP | 0.566 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC023 | Hyperscale_LC | 46 | 48 | 24500 | MidT_05_WoodDry | MidT_90C | wood_processing | Timber kiln drying (Alpine cluster) | 85 | 600 | 1.8 | 1shift | 0.8 | 0.38 | HP | HP | 0.6095 | TRUE | 0.5 | CE-HEAT WP4 / ENEA B9
P_LC024 | Hyperscale_LC | 46 | 48 | 24500 | MidT_06_PaperPulp | MidT_90C | paper_pulp | Paper/pulp pre-drying (Po Valley industrial zone) | 95 | 1200 | 4 | continuous | 0.85 | 0.45 | HP | HP | 0.521 | TRUE | 0.5 | CE-HEAT WP3 / ENEA B9
P_LC025 | Hyperscale_LC | 46 | 48 | 24500 | HighT_07_Rubber | HighT_130C | rubber_plastics | Rubber vulcanisation, moulding (Porto Marghera type) | 130 | 1000 | 3 | 2shift | 0.75 | 0.55 | CO2_HTHP | CO2_HTHP | 0.4035 | FALSE | 0.5 | ENEA B9 / CE-HEAT WP3
P_LC026 | Hyperscale_LC | 46 | 48 | 24500 | HighT_08_ChemReact | HighT_130C | chemicals | Chemical process reactor pre-heating, solvent recovery | 125 | 2500 | 4.5 | continuous | 0.82 | 0.6 | CO2_HTHP | CO2_HTHP | 0.3935 | FALSE | 0.5 | CE-HEAT WP4 / ENEA B9
P_LC027 | Hyperscale_LC | 46 | 48 | 24500 | HighT_09_IndSteam | HighT_130C | industrial_steam | Low-pressure industrial steam, autoclave sterilisation | 135 | 800 | 2.8 | 1shift | 0.7 | 0.57 | CO2_HTHP | CO2_HTHP | 0.3795 | FALSE | 0.5 | A9 / CE-HEAT

## Dataset_Summary_LC
process_name | upgrade_tech_mean | n_pairs | ri_mean | ri_min | ri_max | n_feasible | dtc_mean
HighT_130C | CO2_HTHP | 9 | 0.3475 | 0.1966 | 0.4091 | 0 | 0.5733
LowT_60C | HP | 9 | 0.7169 | 0.6485 | 0.7516 | 9 | 0.25
MidT_90C | HP | 9 | 0.5354 | 0.3756 | 0.6151 | 7 | 0.4167

## IS_Match_Scores_LC
rank | dc_name | process_name | ri_temporal | exergy_dt_norm | delta_tc_norm | is_match_score | tier | beta | gamma | delta | n_weighted_steps | exergy_norm_method
1 | Edge_LC | LowT_60C | 0.6966 | 0.7529 | 0.25 | 0.5298 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario
2 | Mid_LC | LowT_60C | 0.6966 | 0.7529 | 0.25 | 0.5298 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario
3 | Hyperscale_LC | LowT_60C | 0.691 | 0.7583 | 0.25 | 0.5297 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario
4 | Mid_LC | MidT_90C | 0.5956 | 0.7529 | 0.4167 | 0.4561 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario
5 | Edge_LC | MidT_90C | 0.5956 | 0.7529 | 0.4167 | 0.4561 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario
6 | Hyperscale_LC | MidT_90C | 0.5896 | 0.7583 | 0.4167 | 0.4558 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario
7 | Edge_LC | HighT_130C | 0.4406 | 0.7529 | 0.5733 | 0.3628 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario
8 | Mid_LC | HighT_130C | 0.4406 | 0.7529 | 0.5733 | 0.3628 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario
9 | Hyperscale_LC | HighT_130C | 0.4346 | 0.7583 | 0.5733 | 0.3625 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario

## IS_Match_Sensitivity_LC
beta | gamma | delta | dc_name | process_name | is_match_score | tier
0.2 | 0.2 | 0.6 | Edge_LC | HighT_130C | 0 | not_viable
0.2 | 0.2 | 0.6 | Edge_LC | LowT_60C | 0.1399 | not_viable
0.2 | 0.2 | 0.6 | Edge_LC | MidT_90C | 0.0197 | not_viable
0.2 | 0.2 | 0.6 | Mid_LC | HighT_130C | 0 | not_viable
0.2 | 0.2 | 0.6 | Mid_LC | LowT_60C | 0.1399 | not_viable
0.2 | 0.2 | 0.6 | Mid_LC | MidT_90C | 0.0197 | not_viable
0.2 | 0.2 | 0.6 | Hyperscale_LC | HighT_130C | 0 | not_viable
0.2 | 0.2 | 0.6 | Hyperscale_LC | LowT_60C | 0.1399 | not_viable
0.2 | 0.2 | 0.6 | Hyperscale_LC | MidT_90C | 0.0196 | not_viable
0.2 | 0.3 | 0.5 | Edge_LC | HighT_130C | 0.0273 | not_viable
0.2 | 0.3 | 0.5 | Edge_LC | LowT_60C | 0.2402 | not_viable
0.2 | 0.3 | 0.5 | Edge_LC | MidT_90C | 0.1367 | not_viable
0.2 | 0.3 | 0.5 | Mid_LC | HighT_130C | 0.0273 | not_viable
0.2 | 0.3 | 0.5 | Mid_LC | LowT_60C | 0.2402 | not_viable
0.2 | 0.3 | 0.5 | Mid_LC | MidT_90C | 0.1367 | not_viable
0.2 | 0.3 | 0.5 | Hyperscale_LC | HighT_130C | 0.0277 | not_viable
0.2 | 0.3 | 0.5 | Hyperscale_LC | LowT_60C | 0.2407 | not_viable
0.2 | 0.3 | 0.5 | Hyperscale_LC | MidT_90C | 0.1371 | not_viable
0.2 | 0.4 | 0.4 | Edge_LC | HighT_130C | 0.16 | not_viable
0.2 | 0.4 | 0.4 | Edge_LC | LowT_60C | 0.3405 | marginal
0.2 | 0.4 | 0.4 | Edge_LC | MidT_90C | 0.2536 | not_viable
0.2 | 0.4 | 0.4 | Mid_LC | HighT_130C | 0.16 | not_viable
0.2 | 0.4 | 0.4 | Mid_LC | LowT_60C | 0.3405 | marginal
0.2 | 0.4 | 0.4 | Mid_LC | MidT_90C | 0.2536 | not_viable
0.2 | 0.4 | 0.4 | Hyperscale_LC | HighT_130C | 0.1609 | not_viable
0.2 | 0.4 | 0.4 | Hyperscale_LC | LowT_60C | 0.3415 | marginal
0.2 | 0.4 | 0.4 | Hyperscale_LC | MidT_90C | 0.2546 | not_viable
0.2 | 0.5 | 0.3 | Edge_LC | HighT_130C | 0.2926 | not_viable
0.2 | 0.5 | 0.3 | Edge_LC | LowT_60C | 0.4408 | marginal
0.2 | 0.5 | 0.3 | Edge_LC | MidT_90C | 0.3706 | marginal
0.2 | 0.5 | 0.3 | Mid_LC | HighT_130C | 0.2926 | not_viable
0.2 | 0.5 | 0.3 | Mid_LC | LowT_60C | 0.4408 | marginal
0.2 | 0.5 | 0.3 | Mid_LC | MidT_90C | 0.3706 | marginal
0.2 | 0.5 | 0.3 | Hyperscale_LC | HighT_130C | 0.2941 | not_viable
0.2 | 0.5 | 0.3 | Hyperscale_LC | LowT_60C | 0.4424 | marginal
0.2 | 0.5 | 0.3 | Hyperscale_LC | MidT_90C | 0.3721 | marginal
0.3 | 0.2 | 0.5 | Edge_LC | HighT_130C | 0 | not_viable
0.3 | 0.2 | 0.5 | Edge_LC | LowT_60C | 0.2346 | not_viable
0.3 | 0.2 | 0.5 | Edge_LC | MidT_90C | 0.1209 | not_viable
0.3 | 0.2 | 0.5 | Mid_LC | HighT_130C | 0 | not_viable
0.3 | 0.2 | 0.5 | Mid_LC | LowT_60C | 0.2346 | not_viable
0.3 | 0.2 | 0.5 | Mid_LC | MidT_90C | 0.1209 | not_viable
0.3 | 0.2 | 0.5 | Hyperscale_LC | HighT_130C | 0 | not_viable
0.3 | 0.2 | 0.5 | Hyperscale_LC | LowT_60C | 0.234 | not_viable
0.3 | 0.2 | 0.5 | Hyperscale_LC | MidT_90C | 0.1202 | not_viable
0.3 | 0.3 | 0.4 | Edge_LC | HighT_130C | 0.1287 | not_viable
0.3 | 0.3 | 0.4 | Edge_LC | LowT_60C | 0.3349 | marginal
0.3 | 0.3 | 0.4 | Edge_LC | MidT_90C | 0.2379 | not_viable
0.3 | 0.3 | 0.4 | Mid_LC | HighT_130C | 0.1287 | not_viable
0.3 | 0.3 | 0.4 | Mid_LC | LowT_60C | 0.3349 | marginal
0.3 | 0.3 | 0.4 | Mid_LC | MidT_90C | 0.2379 | not_viable
0.3 | 0.3 | 0.4 | Hyperscale_LC | HighT_130C | 0.1285 | not_viable
0.3 | 0.3 | 0.4 | Hyperscale_LC | LowT_60C | 0.3348 | marginal
0.3 | 0.3 | 0.4 | Hyperscale_LC | MidT_90C | 0.2377 | not_viable
0.3 | 0.4 | 0.3 | Edge_LC | HighT_130C | 0.2614 | not_viable
0.3 | 0.4 | 0.3 | Edge_LC | LowT_60C | 0.4352 | marginal
0.3 | 0.4 | 0.3 | Edge_LC | MidT_90C | 0.3549 | marginal
0.3 | 0.4 | 0.3 | Mid_LC | HighT_130C | 0.2614 | not_viable
0.3 | 0.4 | 0.3 | Mid_LC | LowT_60C | 0.4352 | marginal
0.3 | 0.4 | 0.3 | Mid_LC | MidT_90C | 0.3549 | marginal
0.3 | 0.4 | 0.3 | Hyperscale_LC | HighT_130C | 0.2617 | not_viable
0.3 | 0.4 | 0.3 | Hyperscale_LC | LowT_60C | 0.4356 | marginal
0.3 | 0.4 | 0.3 | Hyperscale_LC | MidT_90C | 0.3552 | marginal
0.3 | 0.5 | 0.2 | Edge_LC | HighT_130C | 0.394 | marginal
0.3 | 0.5 | 0.2 | Edge_LC | LowT_60C | 0.5355 | marginal
0.3 | 0.5 | 0.2 | Edge_LC | MidT_90C | 0.4718 | marginal
0.3 | 0.5 | 0.2 | Mid_LC | HighT_130C | 0.394 | marginal
0.3 | 0.5 | 0.2 | Mid_LC | LowT_60C | 0.5355 | marginal
0.3 | 0.5 | 0.2 | Mid_LC | MidT_90C | 0.4718 | marginal
0.3 | 0.5 | 0.2 | Hyperscale_LC | HighT_130C | 0.3949 | marginal
0.3 | 0.5 | 0.2 | Hyperscale_LC | LowT_60C | 0.5365 | marginal
0.3 | 0.5 | 0.2 | Hyperscale_LC | MidT_90C | 0.4727 | marginal
0.4 | 0.2 | 0.4 | Edge_LC | HighT_130C | 0.0975 | not_viable
0.4 | 0.2 | 0.4 | Edge_LC | LowT_60C | 0.3292 | marginal
0.4 | 0.2 | 0.4 | Edge_LC | MidT_90C | 0.2222 | not_viable
0.4 | 0.2 | 0.4 | Mid_LC | HighT_130C | 0.0975 | not_viable
0.4 | 0.2 | 0.4 | Mid_LC | LowT_60C | 0.3292 | marginal
0.4 | 0.2 | 0.4 | Mid_LC | MidT_90C | 0.2222 | not_viable
0.4 | 0.2 | 0.4 | Hyperscale_LC | HighT_130C | 0.0962 | not_viable
0.4 | 0.2 | 0.4 | Hyperscale_LC | LowT_60C | 0.3281 | marginal
0.4 | 0.2 | 0.4 | Hyperscale_LC | MidT_90C | 0.2208 | not_viable
0.4 | 0.3 | 0.3 | Edge_LC | HighT_130C | 0.2301 | not_viable
0.4 | 0.3 | 0.3 | Edge_LC | LowT_60C | 0.4295 | marginal
0.4 | 0.3 | 0.3 | Edge_LC | MidT_90C | 0.3391 | marginal
0.4 | 0.3 | 0.3 | Mid_LC | HighT_130C | 0.2301 | not_viable
0.4 | 0.3 | 0.3 | Mid_LC | LowT_60C | 0.4295 | marginal
0.4 | 0.3 | 0.3 | Mid_LC | MidT_90C | 0.3391 | marginal
0.4 | 0.3 | 0.3 | Hyperscale_LC | HighT_130C | 0.2293 | not_viable
0.4 | 0.3 | 0.3 | Hyperscale_LC | LowT_60C | 0.4289 | marginal
0.4 | 0.3 | 0.3 | Hyperscale_LC | MidT_90C | 0.3383 | marginal
0.4 | 0.4 | 0.2 | Edge_LC | HighT_130C | 0.3628 | marginal
0.4 | 0.4 | 0.2 | Edge_LC | LowT_60C | 0.5298 | marginal
0.4 | 0.4 | 0.2 | Edge_LC | MidT_90C | 0.4561 | marginal
0.4 | 0.4 | 0.2 | Mid_LC | HighT_130C | 0.3628 | marginal
0.4 | 0.4 | 0.2 | Mid_LC | LowT_60C | 0.5298 | marginal
0.4 | 0.4 | 0.2 | Mid_LC | MidT_90C | 0.4561 | marginal
0.4 | 0.4 | 0.2 | Hyperscale_LC | HighT_130C | 0.3625 | marginal
0.4 | 0.4 | 0.2 | Hyperscale_LC | LowT_60C | 0.5297 | marginal
0.4 | 0.4 | 0.2 | Hyperscale_LC | MidT_90C | 0.4558 | marginal
0.4 | 0.5 | 0.1 | Edge_LC | HighT_130C | 0.4954 | marginal
0.4 | 0.5 | 0.1 | Edge_LC | LowT_60C | 0.6301 | high_priority
0.4 | 0.5 | 0.1 | Edge_LC | MidT_90C | 0.5731 | marginal
0.4 | 0.5 | 0.1 | Mid_LC | HighT_130C | 0.4954 | marginal
0.4 | 0.5 | 0.1 | Mid_LC | LowT_60C | 0.6301 | high_priority
0.4 | 0.5 | 0.1 | Mid_LC | MidT_90C | 0.5731 | marginal
0.4 | 0.5 | 0.1 | Hyperscale_LC | HighT_130C | 0.4956 | marginal
0.4 | 0.5 | 0.1 | Hyperscale_LC | LowT_60C | 0.6306 | high_priority
0.4 | 0.5 | 0.1 | Hyperscale_LC | MidT_90C | 0.5733 | marginal
0.5 | 0.2 | 0.3 | Edge_LC | HighT_130C | 0.1989 | not_viable
0.5 | 0.2 | 0.3 | Edge_LC | LowT_60C | 0.4239 | marginal
0.5 | 0.2 | 0.3 | Edge_LC | MidT_90C | 0.3234 | marginal
0.5 | 0.2 | 0.3 | Mid_LC | HighT_130C | 0.1989 | not_viable
0.5 | 0.2 | 0.3 | Mid_LC | LowT_60C | 0.4239 | marginal
0.5 | 0.2 | 0.3 | Mid_LC | MidT_90C | 0.3234 | marginal
0.5 | 0.2 | 0.3 | Hyperscale_LC | HighT_130C | 0.1969 | not_viable
0.5 | 0.2 | 0.3 | Hyperscale_LC | LowT_60C | 0.4222 | marginal
0.5 | 0.2 | 0.3 | Hyperscale_LC | MidT_90C | 0.3214 | marginal
0.5 | 0.3 | 0.2 | Edge_LC | HighT_130C | 0.3315 | marginal
0.5 | 0.3 | 0.2 | Edge_LC | LowT_60C | 0.5242 | marginal
0.5 | 0.3 | 0.2 | Edge_LC | MidT_90C | 0.4404 | marginal
0.5 | 0.3 | 0.2 | Mid_LC | HighT_130C | 0.3315 | marginal
0.5 | 0.3 | 0.2 | Mid_LC | LowT_60C | 0.5242 | marginal
0.5 | 0.3 | 0.2 | Mid_LC | MidT_90C | 0.4404 | marginal
0.5 | 0.3 | 0.2 | Hyperscale_LC | HighT_130C | 0.3301 | marginal
0.5 | 0.3 | 0.2 | Hyperscale_LC | LowT_60C | 0.523 | marginal
0.5 | 0.3 | 0.2 | Hyperscale_LC | MidT_90C | 0.4389 | marginal
0.5 | 0.4 | 0.1 | Edge_LC | HighT_130C | 0.4642 | marginal
0.5 | 0.4 | 0.1 | Edge_LC | LowT_60C | 0.6245 | high_priority
0.5 | 0.4 | 0.1 | Edge_LC | MidT_90C | 0.5573 | marginal
0.5 | 0.4 | 0.1 | Mid_LC | HighT_130C | 0.4642 | marginal
0.5 | 0.4 | 0.1 | Mid_LC | LowT_60C | 0.6245 | high_priority
0.5 | 0.4 | 0.1 | Mid_LC | MidT_90C | 0.5573 | marginal
0.5 | 0.4 | 0.1 | Hyperscale_LC | HighT_130C | 0.4633 | marginal
0.5 | 0.4 | 0.1 | Hyperscale_LC | LowT_60C | 0.6238 | high_priority
0.5 | 0.4 | 0.1 | Hyperscale_LC | MidT_90C | 0.5564 | marginal
0.5 | 0.5 | 0 | Edge_LC | HighT_130C | 0.5968 | marginal
0.5 | 0.5 | 0 | Edge_LC | LowT_60C | 0.7248 | high_priority
0.5 | 0.5 | 0 | Edge_LC | MidT_90C | 0.6743 | high_priority
0.5 | 0.5 | 0 | Mid_LC | HighT_130C | 0.5968 | marginal
0.5 | 0.5 | 0 | Mid_LC | LowT_60C | 0.7248 | high_priority
0.5 | 0.5 | 0 | Mid_LC | MidT_90C | 0.6743 | high_priority
0.5 | 0.5 | 0 | Hyperscale_LC | HighT_130C | 0.5964 | marginal
0.5 | 0.5 | 0 | Hyperscale_LC | LowT_60C | 0.7247 | high_priority
0.5 | 0.5 | 0 | Hyperscale_LC | MidT_90C | 0.6739 | high_priority

## Ranking_Metrics_LC
method | dc_name | ndcg_at_k | precision_at_3 | n_marginal_plus | n_feasible_baseline | ri_gt05_rate_pct
IS-Match_LC | Edge_LC | 1 | 0.3333 | 9 | 4 | 44.4
IS-Match_LC | Mid_LC | 1 | 0.3333 | 9 | 6 | 66.7
IS-Match_LC | Hyperscale_LC | 1 | 0.3333 | 9 | 6 | 66.7
IS-Match_LC | ALL | 1 | 0.3333 | 9 | 5.3 | 59.3
RI_static_baseline | Edge_LC | 1 | 0.3333 | 18 | 4 | 44.4
RI_static_baseline | Mid_LC | 1 | 0.3333 | 27 | 6 | 66.7
RI_static_baseline | Hyperscale_LC | 1 | 0.3333 | 27 | 6 | 66.7
RI_static_baseline | ALL | 1 | 0.3333 | 24 | 5.3 | 59.3

## Ranking_Sensitivity_LC
beta | gamma | delta | ndcg_mean | ndcg_min | ndcg_max
0.2 | 0.2 | 0.6 | 0.4729 | 0.3314 | 0.5454
0.2 | 0.3 | 0.5 | 0.4729 | 0.3314 | 0.5454
0.2 | 0.4 | 0.4 | 0.4729 | 0.3314 | 0.5454
0.2 | 0.5 | 0.3 | 0.4729 | 0.3314 | 0.5454
0.3 | 0.2 | 0.5 | 0.4729 | 0.3314 | 0.5454
0.3 | 0.3 | 0.4 | 0.4729 | 0.3314 | 0.5454
0.3 | 0.4 | 0.3 | 0.4729 | 0.3314 | 0.5454
0.3 | 0.5 | 0.2 | 0.4729 | 0.3314 | 0.5454
0.4 | 0.2 | 0.4 | 0.4729 | 0.3314 | 0.5454
0.4 | 0.3 | 0.3 | 0.4729 | 0.3314 | 0.5454
0.4 | 0.4 | 0.2 | 0.4729 | 0.3314 | 0.5454
0.4 | 0.5 | 0.1 | 0.4729 | 0.3314 | 0.5454
0.5 | 0.2 | 0.3 | 0.4729 | 0.3314 | 0.5454
0.5 | 0.3 | 0.2 | 0.4729 | 0.3314 | 0.5454
0.5 | 0.4 | 0.1 | 0.4729 | 0.3314 | 0.5454
0.5 | 0.5 | 0 | 0.4729 | 0.3314 | 0.5454

## DeltaTC_Calibration_LC
rank | dc_name | process_name | ri_temporal | exergy_dt_norm | delta_tc_norm | is_match_score | tier | beta | gamma | delta | n_weighted_steps | exergy_norm_method | iteration
1 | Edge_LC | LowT_60C | 0.6966 | 0.7529 | 0.25 | 0.5298 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 0
2 | Mid_LC | LowT_60C | 0.6966 | 0.7529 | 0.25 | 0.5298 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 0
3 | Hyperscale_LC | LowT_60C | 0.691 | 0.7583 | 0.25 | 0.5297 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 0
4 | Mid_LC | MidT_90C | 0.5956 | 0.7529 | 0.4167 | 0.4561 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 0
5 | Edge_LC | MidT_90C | 0.5956 | 0.7529 | 0.4167 | 0.4561 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 0
6 | Hyperscale_LC | MidT_90C | 0.5896 | 0.7583 | 0.4167 | 0.4558 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 0
7 | Edge_LC | HighT_130C | 0.4406 | 0.7529 | 0.5733 | 0.3628 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 0
8 | Mid_LC | HighT_130C | 0.4406 | 0.7529 | 0.5733 | 0.3628 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 0
9 | Hyperscale_LC | HighT_130C | 0.4346 | 0.7583 | 0.5733 | 0.3625 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 0
1 | Edge_LC | LowT_60C | 0.6966 | 0.7529 | 0.125 | 0.5548 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 1
2 | Mid_LC | LowT_60C | 0.6966 | 0.7529 | 0.125 | 0.5548 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 1
3 | Hyperscale_LC | LowT_60C | 0.691 | 0.7583 | 0.125 | 0.5547 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 1
4 | Mid_LC | MidT_90C | 0.5956 | 0.7529 | 0.20835 | 0.4977 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 1
5 | Edge_LC | MidT_90C | 0.5956 | 0.7529 | 0.20835 | 0.4977 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 1
6 | Hyperscale_LC | MidT_90C | 0.5896 | 0.7583 | 0.20835 | 0.4975 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 1
7 | Edge_LC | HighT_130C | 0.4406 | 0.7529 | 0.28665 | 0.4201 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 1
8 | Mid_LC | HighT_130C | 0.4406 | 0.7529 | 0.28665 | 0.4201 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 1
9 | Hyperscale_LC | HighT_130C | 0.4346 | 0.7583 | 0.28665 | 0.4198 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 1
1 | Edge_LC | LowT_60C | 0.6966 | 0.7529 | 0.0625 | 0.5673 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 2
2 | Mid_LC | LowT_60C | 0.6966 | 0.7529 | 0.0625 | 0.5673 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 2
3 | Hyperscale_LC | LowT_60C | 0.691 | 0.7583 | 0.0625 | 0.5672 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 2
4 | Mid_LC | MidT_90C | 0.5956 | 0.7529 | 0.10418 | 0.5186 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 2
5 | Edge_LC | MidT_90C | 0.5956 | 0.7529 | 0.10418 | 0.5186 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 2
6 | Hyperscale_LC | MidT_90C | 0.5896 | 0.7583 | 0.10418 | 0.5183 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 2
7 | Edge_LC | HighT_130C | 0.4406 | 0.7529 | 0.14333 | 0.4487 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 2
8 | Mid_LC | HighT_130C | 0.4406 | 0.7529 | 0.14333 | 0.4487 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 2
9 | Hyperscale_LC | HighT_130C | 0.4346 | 0.7583 | 0.14333 | 0.4485 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 2
1 | Edge_LC | LowT_60C | 0.6966 | 0.7529 | 0.03125 | 0.5736 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 3
2 | Mid_LC | LowT_60C | 0.6966 | 0.7529 | 0.03125 | 0.5736 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 3
3 | Hyperscale_LC | LowT_60C | 0.691 | 0.7583 | 0.03125 | 0.5735 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 3
4 | Mid_LC | MidT_90C | 0.5956 | 0.7529 | 0.05209 | 0.529 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 3
5 | Edge_LC | MidT_90C | 0.5956 | 0.7529 | 0.05209 | 0.529 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 3
6 | Hyperscale_LC | MidT_90C | 0.5896 | 0.7583 | 0.05209 | 0.5287 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 3
7 | Edge_LC | HighT_130C | 0.4406 | 0.7529 | 0.07167 | 0.4631 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 3
8 | Mid_LC | HighT_130C | 0.4406 | 0.7529 | 0.07167 | 0.4631 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 3
9 | Hyperscale_LC | HighT_130C | 0.4346 | 0.7583 | 0.07167 | 0.4628 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 3
1 | Edge_LC | LowT_60C | 0.6966 | 0.7529 | 0.01562 | 0.5767 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 4
2 | Mid_LC | LowT_60C | 0.6966 | 0.7529 | 0.01562 | 0.5767 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 4
3 | Hyperscale_LC | LowT_60C | 0.691 | 0.7583 | 0.01562 | 0.5766 | marginal | 0.4 | 0.4 | 0.2 | 35040 | per_scenario | 4
4 | Mid_LC | MidT_90C | 0.5956 | 0.7529 | 0.02604 | 0.5342 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 4
5 | Edge_LC | MidT_90C | 0.5956 | 0.7529 | 0.02604 | 0.5342 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 4
6 | Hyperscale_LC | MidT_90C | 0.5896 | 0.7583 | 0.02604 | 0.534 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 4
7 | Edge_LC | HighT_130C | 0.4406 | 0.7529 | 0.03583 | 0.4702 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 4
8 | Mid_LC | HighT_130C | 0.4406 | 0.7529 | 0.03583 | 0.4702 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 4
9 | Hyperscale_LC | HighT_130C | 0.4346 | 0.7583 | 0.03583 | 0.47 | marginal | 0.4 | 0.4 | 0.2 | 16704 | per_scenario | 4

## DeltaTC_Convergence_LC
iteration | delta_max_is_match | delta_mean_is_match | converged | threshold | phase3_source
1 | 0.0573 | 0.04131 | FALSE | 0.01 | placeholder
2 | 0.0287 | 0.02067 | FALSE | 0.01 | placeholder
3 | 0.0144 | 0.01036 | FALSE | 0.01 | placeholder
4 | 0.0072 | 0.00516 | TRUE | 0.01 | placeholder

## Regulatory_KPIs
dc_scenario | plant_id | t_tier | distance_km | TWH_mean_C | T_req_C | delta_T_residual_C | ERF_scenario | Q_negotiated_mean_kW | Q_demand_plant_kW | ERF_pair | Art26_applicable | is_match_score | is_match_category | regulatory_note
Edge_LC | LowT_01_Food_Short | LowT_60C | 30 | 47.6 | 60 | 12.4 | 0.81 | 342 | 800 | 0.81 | FALSE | 0.5767 | marginal | Heat pump required (ΔT = 12°C)
Edge_LC | LowT_02_Agro_Medium | LowT_60C | 75 | 47.6 | 60 | 12.4 | 0.81 | 342 | 1200 | 0.81 | FALSE | 0.5767 | marginal | Heat pump required (ΔT = 12°C)
Edge_LC | LowT_03_Dairy_Short | LowT_60C | 45 | 47.6 | 65 | 17.4 | 0.81 | 342 | 650 | 0.81 | FALSE | 0.5767 | marginal | Heat pump required (ΔT = 17°C)
Edge_LC | MidT_04_PaperPulp_Medium | MidT_90C | 80 | 47.6 | 90 | 42.4 | 0.81 | 342 | 28127.9 | 0.81 | FALSE | 0.5342 | marginal | Heat pump required (ΔT = 42°C)
Edge_LC | MidT_05_PaperPulp_Short | MidT_90C | 50 | 47.6 | 90 | 42.4 | 0.81 | 342 | 31141.6 | 0.81 | FALSE | 0.5342 | marginal | Heat pump required (ΔT = 42°C)
Edge_LC | MidT_06_PaperPulp_Long | MidT_90C | 140 | 47.6 | 90 | 42.4 | 0.81 | 342 | 21095.9 | 0.81 | FALSE | 0.5342 | marginal | Heat pump required (ΔT = 42°C)
Edge_LC | HighT_07_Rubber_Medium | HighT_130C | 100 | 47.6 | 130 | 82.4 | 0.81 | 342 | 2800 | 0.81 | FALSE | 0.4702 | marginal | CO2-HTHP required (ΔT = 82°C)
Edge_LC | HighT_08_ChemProcess_Short | HighT_130C | 55 | 47.6 | 130 | 82.4 | 0.81 | 342 | 4500 | 0.81 | FALSE | 0.4702 | marginal | CO2-HTHP required (ΔT = 82°C)
Edge_LC | HighT_09_Steam_Long | HighT_130C | 160 | 47.6 | 135 | 87.4 | 0.81 | 342 | 6200 | 0.81 | FALSE | 0.4702 | marginal | CO2-HTHP required (ΔT = 87°C)
Mid_LC | LowT_01_Food_Short | LowT_60C | 30 | 47.6 | 60 | 12.4 | 0.81 | 2235.2 | 800 | 0.81 | TRUE | 0.5767 | marginal | Heat pump required (ΔT = 12°C)
Mid_LC | LowT_02_Agro_Medium | LowT_60C | 75 | 47.6 | 60 | 12.4 | 0.81 | 2235.2 | 1200 | 0.81 | TRUE | 0.5767 | marginal | Heat pump required (ΔT = 12°C)
Mid_LC | LowT_03_Dairy_Short | LowT_60C | 45 | 47.6 | 65 | 17.4 | 0.81 | 2235.2 | 650 | 0.81 | TRUE | 0.5767 | marginal | Heat pump required (ΔT = 17°C)
Mid_LC | MidT_04_PaperPulp_Medium | MidT_90C | 80 | 47.6 | 90 | 42.4 | 0.81 | 2235.2 | 28127.9 | 0.81 | TRUE | 0.5342 | marginal | Heat pump required (ΔT = 42°C)
Mid_LC | MidT_05_PaperPulp_Short | MidT_90C | 50 | 47.6 | 90 | 42.4 | 0.81 | 2235.2 | 31141.6 | 0.81 | TRUE | 0.5342 | marginal | Heat pump required (ΔT = 42°C)
Mid_LC | MidT_06_PaperPulp_Long | MidT_90C | 140 | 47.6 | 90 | 42.4 | 0.81 | 2235.2 | 21095.9 | 0.81 | TRUE | 0.5342 | marginal | Heat pump required (ΔT = 42°C)
Mid_LC | HighT_07_Rubber_Medium | HighT_130C | 100 | 47.6 | 130 | 82.4 | 0.81 | 2235.2 | 2800 | 0.81 | TRUE | 0.4702 | marginal | CO2-HTHP required (ΔT = 82°C)
Mid_LC | HighT_08_ChemProcess_Short | HighT_130C | 55 | 47.6 | 130 | 82.4 | 0.81 | 2235.2 | 4500 | 0.81 | TRUE | 0.4702 | marginal | CO2-HTHP required (ΔT = 82°C)
Mid_LC | HighT_09_Steam_Long | HighT_130C | 160 | 47.6 | 135 | 87.4 | 0.81 | 2235.2 | 6200 | 0.81 | TRUE | 0.4702 | marginal | CO2-HTHP required (ΔT = 87°C)
Hyperscale_LC | LowT_01_Food_Short | LowT_60C | 30 | 46 | 60 | 14 | 0.81 | 17642.6 | 800 | 0.81 | TRUE | 0.5766 | marginal | Heat pump required (ΔT = 14°C)
Hyperscale_LC | LowT_02_Agro_Medium | LowT_60C | 75 | 46 | 60 | 14 | 0.81 | 17642.6 | 1200 | 0.81 | TRUE | 0.5766 | marginal | Heat pump required (ΔT = 14°C)
Hyperscale_LC | LowT_03_Dairy_Short | LowT_60C | 45 | 46 | 65 | 19 | 0.81 | 17642.6 | 650 | 0.81 | TRUE | 0.5766 | marginal | Heat pump required (ΔT = 19°C)
Hyperscale_LC | MidT_04_PaperPulp_Medium | MidT_90C | 80 | 46 | 90 | 44 | 0.81 | 17642.6 | 28127.9 | 0.81 | TRUE | 0.534 | marginal | Heat pump required (ΔT = 44°C)
Hyperscale_LC | MidT_05_PaperPulp_Short | MidT_90C | 50 | 46 | 90 | 44 | 0.81 | 17642.6 | 31141.6 | 0.81 | TRUE | 0.534 | marginal | Heat pump required (ΔT = 44°C)
Hyperscale_LC | MidT_06_PaperPulp_Long | MidT_90C | 140 | 46 | 90 | 44 | 0.81 | 17642.6 | 21095.9 | 0.81 | TRUE | 0.534 | marginal | Heat pump required (ΔT = 44°C)
Hyperscale_LC | HighT_07_Rubber_Medium | HighT_130C | 100 | 46 | 130 | 84 | 0.81 | 17642.6 | 2800 | 0.81 | TRUE | 0.47 | marginal | CO2-HTHP required (ΔT = 84°C)
Hyperscale_LC | HighT_08_ChemProcess_Short | HighT_130C | 55 | 46 | 130 | 84 | 0.81 | 17642.6 | 4500 | 0.81 | TRUE | 0.47 | marginal | CO2-HTHP required (ΔT = 84°C)
Hyperscale_LC | HighT_09_Steam_Long | HighT_130C | 160 | 46 | 135 | 89 | 0.81 | 17642.6 | 6200 | 0.81 | TRUE | 0.47 | marginal | CO2-HTHP required (ΔT = 89°C)